# COMMISSIONING RECORDS

Fcu test report   (Direct Drive)                                   FORM TACF01-2

| Project: |  | Tag No.: |  |
| --- | --- | --- | --- |
|  |  | System: |  |
| Job No.: | 20 | Date: |  |
| Drwg. No.: |  | Tested By: |  |

FAN

| Make |  |  | Design |  | Actual |  |
| --- | --- | --- | --- | --- | --- | --- |
| Model |  |  |  | Supply |  | l/s |
| Serial Number |  |  |  | Return |  | l/s |
|  |  |  |  | Outside (min) |  | l/s |
|  |  |  |  | Static (ext / total) |  | Pa |
|  |  |  |  | Speed (fan) |  | rpm |

MOTOR

| Make |  |  | rpm(s) |  |  | N/P Amps |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Model |  |  | kW |  |  | Run Amps |  |  |  |
| Frame |  |  |  |  |  | O/L Set |  |  |  |
| Serial No. |  |  |  |  |  | O/L Range |  |  |  |

AIR BALANCE

| Area Served | Outlet or Grille |  | Hood Size | K Fact | Eff. Area m2 | Design |  | Actual |  | Final |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | No. | Size mm |  |  |  | Vol. l/s | Vel. m/s | Vel. m/s | Vel. m/s | Vel. m/s | Vol l/s |
|  |  |  |  |  | Total |  |  |  |  | Total |  |

| Instrument Used: |  | Serial Number: |  |
| --- | --- | --- | --- |
| Instrument Used: |  | Serial Number: |  |

Remarks: