COMMISSIONING RECORDS

FAN TEST REPORT (Belt Driven)			   FORM TACF01-3

| Project: |  | Tag No.: |  |
| --- | --- | --- | --- |
|  |  | System: |  |
| Job No.: | 20- | Date: |  |
| Drwg No.: |  | Tested By: |  |

FAN

| Make |  |  | Design |  | Actual |  |
| --- | --- | --- | --- | --- | --- | --- |
| Model |  |  |  | Air Quanity |  | l/s |
| Serial Number |  |  |  | Static Press |  | Pa |
| Pitch Angle |  |  |  | Speed (fan) |  | rpm |

MOTOR

| Make |  |  | rpm |  |  | N/P Amps |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Model |  |  | kW |  |  | Run Amps |  |  |  |
| Frame |  |  |  |  |  | O/L Set |  |  |  |
| Serial Number |  |  |  |  |  | O/L Range |  |  |  |

DRIVE

| Belt Adj. In |  | mm |  | Motor |  | Fan |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Belt Adj. Out |  | mm |  |  | Shaft Dia. |  | mm |
| Shaft Centres |  | mm |  |  | Pulley Adj.OD |  | mm |
| Belt Size |  |  |  |  | Pulley Fixed OD |  | mm |
| No.of Belts |  |  |  |  | Pulley Fixed PCD |  | mm |
|  |  |  |  |  | Pulley Taper Lock |  |  |

Instruments

| Instrument Used: |  | Serial Number: |  |
| --- | --- | --- | --- |
| Instrument Used: |  | Serial Number: |  |

REMARKS: