Commissioning Records

# STAIR PRESSURISATION TEST REPORT                 FORM TACF05

| Project: |  | Tag No.: |  |
| --- | --- | --- | --- |
| Job No.: | 20- | Date: |  |
| Drwg. No.: |  | Tested By: |  |

| TEST CONDITION 1 ALL DOORS CLOSED |  |  |  |  |  | TEST CONDITION 2 VELOCITY ACROSS OPEN DOOR WITH MAIN EXIT DOOR FULLY OPEN DURING VELOCITY TESTS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Level | Pressure in stairwell (Pa) | Force to open door (Kg) | Damper Response time (Sec) |  |  | Velocity measured across open door on level number | With door open on level number | DES VEL. | A C T U A L V E LOC I T Y |  |  | FINAL VEL. |
|  |  | door | Stair well |  |  |  |  | m/s | m/s | m/s | m/s | m/s |

| Instrument Used |  | Serial Number |  |
| --- | --- | --- | --- |
| Instrument Used |  | Serial Number |  |

REMARKS: