COMMISSIONING RECORDS

PAC. Refrigeration test report                         FORM TACF9

| Project: |  | Tag No.: |  |
| --- | --- | --- | --- |
|  |  | System: |  |
| Job No.: | 20- | Date: |  |
| Drwg. No.: |  | Tested By: |  |

| Make |  |
| --- | --- |
| Model |  |
| Serial Number |  |

EVAPORATOR FAN MOTOR

| Make |  |  | rpm(s) |  |  | N/P Amps |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Model |  |  | kW |  |  | Run Amps |  |  |  |
| Frame |  |  |  |  |  | O/L Set |  |  |  |
| Serial No. |  |  |  |  |  | O/L Range |  |  |  |

CONDENSER FAN MOTOR/S

| Make |  |  | rpm(s) |  |  | N/P Amps |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Model |  |  | kW |  |  | Run Amps |  |  |  |
| Frame |  |  |  |  |  | O/L Set |  |  |  |
| Serial No. |  |  |  |  |  | O/L Range |  |  |  |

CONDENSER FAN MOTOR/S

| Make |  |  | rpm(s) |  |  | N/P Amps |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Model |  |  | kW |  |  | Run Amps |  |  |  |
| Frame |  |  |  |  |  | O/L Set |  |  |  |
| Serial No. |  |  |  |  |  | O/L Range |  |  |  |

# COMPRESSOR/S PRESSURES

| No. | Suction | Discharge | HP Trip | LP Trip |  |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |

DRIVE

Remarks: