## Sheet1
AIR HANDLING UNITS - CHILLED WATER COOLING COIL | [5 empty] | AHU
PROJECT: |  | xxxxx
PROJECT No.: |  | yyyyy |  | Print | 2026-07-30
ITEM CODE
Revision
Revision Date
Authorised by
Quantity
Make
Model
Serial No.
Type
Arrangement
Location
Area Served
AS1668-1 Essential Service Equipment
DESIGN AIR QUANTITIES
Supply Air |  |  | (l/s)
Return air ( Maximum ) |  |  | (l/s)
Outside Air ( Minimum ) |  |  | (l/s)
FAN
Manufacturer
Model
| Airflow |  | (l/s)
| External Total Pressure |  | (Pa)
| Fan's Total Pressure |  | (Pa)
Fan Type
Blade Type
| Fan Speed |  | (Rev/s)
| Shaft Power |  | (kW)
Drive
Fan Mounting
Internal Flexible Connection
Fan Construction
Bearings
MOTOR
Make
| Power/Frame |  | (kW)
| Speed |  | (Rev/s)
Enclosure/Protection
Insulation Class
Sealed for life or Grease Relief Bearings
| Electrical Supply |  | (V/Ph/Hz)
Thermistors
COOLING COIL
Quantity
Model No.
Duty
| Airflow (Max) |  | (l/s)
| Total Capacity |  | (kW)
| Sensible Capacity |  | (kW)
| Air Entering |  | (°CDB/WB)
| Air Leaving |  | (°CDB/WB)
| Air Pressure Drop |  | (Pa)
| Water Entering |  | (°C)
| Water Leaving |  | (°C)
| Water Flow |  | (l/s)
| Water Press. Drop |  | (kPa)
| Face Velocity |  | (m/s)
Physical Data
| Dimensions |  | (W x H)
No. of Rows/Fins per metre
Tube/Fin Material
Casing Material
Coil Corrosion Protection
| Working Pressure |  | (kPa)
Condensate Tray Material
Vent and Drain provisions
HEATING COILS
Quantity
Model No.
Duty
| Airflow (Max) |  | (l/s)
| Total Capacity |  | (kW)
| Air Entering |  | (°CDB)
| Air Leaving |  | (°CDB)
| Air Pressure Drop |  | (Pa)
| Water Entering |  | (°C)
| Water Leaving |  | (°C)
| Water Flow |  | (l/s)
| Water Press. Drop |  | (kPa)
| Face Velocity |  | (m/s)
Physical Data
| Dimension |  | (W x H)
No. of Rows/Fins per metre
Tube/Fin Material
Casing Material
Coil Corrosion Protection
| Working Pressure |  | (kPa)
Vent and Drain provisions
AIR FILTERS
Type
Model/Media
Quantity/Dimensions
UNIT ARRANGEMENT
No. of Zones
Fan Discharge
Motor Position
Coil Connections
Drain Connection
Access Panel Locations
Filter Withdraw Access
Unit Construction Materials
Finish Internal/External
Unit Insulation + Finish
Mixing Plenum
PIPE CONNECTIONS
| Chilled Water Flow and Return |  | (mm)
| Hot Water Flow and Return |  | (mm)
| Drain |  | (mm)
SOUND POWER LEVELS ( SWL )
| 63 Hz | ( dB 10-12 Watts )
125 Hz
250 Hz
500 Hz
1 kHz
2 kHz
4 kHz
8 kHz
REVISIONS/REMARKS