## Sheet1
STEAM BOILERS
PROJECT: |  | xxxxx
PROJECT No.: |  | yyyyy |  |  | Print: | 2026-07-28
ITEM CODE
Revision
Revision Date
Authorised by
Quantity
Make
Model
Serial No.
Type
Rating
Location
Area Served
AS1668-1 Essential Service Equipment
DUTY
| Capacity |  | (kg/hr.)
| Design Output |  | (kW)
| Energy Input |  | (MJ/hr)
| Operating Efficiency |  | (%)
| Steam Dryness (min. ) |  | (%)
| Boiler maximum operating pressure |  | (kPa)
BURNER
Burner Make
Burner Model
| Burner Type |  |  | Forced draft
Fuel type
| Fuel Pressure (Gas or Oil) |  | (kPa)
Burner control (On/Off, 2stage, modulating)
Control system
| Gas train fitted |  |  | AGL approved c/w
solenoid isolation valves
PHYSICAL DATA
| Construction Code |  |  | AS1228
| Attendance Code |  |  | AS2593 (Unattended)
Country of Origin
| Length including burner |  | (mm)
| Width |  | (mm)
| Height (overall) |  | (mm)
| Flue Diameter |  | (mm)
| Dry Weight |  | (kg)
| Water Content |  | (litres)
Feed Water Pump
Insulation
ELECTRICAL DATA
| Power supply |  | (V/Ph/Hz)
| Operating amps |  | (amps)
| Burner motor |  | (kW)
| Feed water pump motor |  | (kW)
BMCS INTERFACE
ACCESSORIES
Automatic blowdown controls
Safety relief valves
Discharge globe valve
Manual blowdown
Feedwater check & isolation valves
Gauge glasses
100mm diameter Pressure guage
REVISIONS/REMARKS