## Sheet1
SCREW WATER COOLED CHILLER
PROJECT: |  | xxxxx
PROJECT No.: |  | yyyyy |  | Print: | 2026-07-29
ITEM CODE
Revision
Revision Date
Authorised by
Quantity
Make
Model
Serial No.
Type
Rating
Location
Area Served
AS1668-1 Essential Service Equipment
DUTY
| Refrigeration Capacity |  | (kWR)
| Performance at full load |  | (kW input/kWR)
| Capacity Control Steps |  | (%)
REFRIGERANT
Refrigerant Type
No. for Refrigerant Circuits
| Refrigerant Charge |  | (kg)
| Oil Charge |  | (litres)
| Refrigerant Pressure relief devices |  | (Type)
(No. off)
COMPRESSOR(S)
Quantity
Type
Model
| Power Input |  | (kW)
| Speed |  | (rev/s)
Capacity Control
Compressor Motor Type
Compressor Motor Enclosure/Protection
EVAPORATOR
Number off
Type
Model
| Water Flow per Evaporator |  | (l/s)
| Entering/Leaving Water |  | (°C)
| Water Pressure Drop |  | (kPa)
| Fouling Factor |  | (sqm.K/kW)
No. of Passes
| Waterside Working Pressure |  | (kPa)
Expansion Device(s)
Insulation
Tube sheet material
Water Connections
CONDENSER
Number off
Type
Model
| Water Flow per Condenser |  | (l/s)
| Entering/Leaving Water |  | (°C)
| Water Pressure Drop |  | (kPa)
| Fouling Factor |  | (sqm.K/kW)
No. of Passes
| Waterside Working Pressure |  | (kPa)
Tube sheet material
Water Connections
ELECTRICAL DATA
| Full Load Current |  | (amps)
| Electrical Supply |  | (V/Ph/Hz)
Starter Panel
Starter Panel Rating
Starter Type
PHYSICAL DATA
| Length |  | (mm)
| Width |  | (mm)
| Height |  | (mm)
| Operating Weight |  | (kg)
CONTROL PANEL
Microprocessor
Display Panel
Serial Port
PROVISION FOR BMCS
Remote Stop/Start
Fault / Alarm Output
Chilled Water Temperature Reset
Capacity Limit Control
High Level Interface
ACCESSORIES
| A'vibration Mounts/Deflect |  | (mm)
Evaporator Insulation finish
Provision for Cathodic Protection
Water flow switch
Control Output for Condenser Water Flow
Control Valves for Condenser Water Flow
SOUND POWER LEVELS
| 63Hz |  | ( dB 10-12 Watts )
125Hz
250Hz
500Hz
1kHz
2kHz
4kHz
8kHz
REVISIONS/REMARKS