## Sheet1
FAN'S - CENTRIFUGAL FANS
PROJECT: |  | xxxxx
PROJECT No.: |  | yyyyy |  | Print: | 2026-07-29
ITEM CODE
Revision
Revision Date
Authorised by
Quantity
Make
Model
Serial No.
Type
Rating
Location
Area Served
AS1668-1 Essential Service Equipment
DUTY
| Airflow |  | (l/s)
| Total Pressure |  | (Pa)
| Fan Static Pressure |  | (Pa)
| Outlet Velocity |  | (m/s)
| Fan Speed |  | (rev/s)
| Shaft Power |  | (kW)
PHYSICAL DATA
| Impellor Diameter |  | (mm)
Impellor Type
Impellor Blade Type
Impellor Construction
Impellor Finish
Horizontal Split Casing
Casing inlet cones material
Casing Inspection Panel
Casing Drain Point
Casing Finish
Base
Bearings
Drive
MOTOR
Make
| Power/Frame |  | (kW)
| Speed |  | (rev/s)
Enclosure/Protection
Insulation Class
Sealed for life or Grease Relief Bearings
| Electrical Supply |  | (V/Ph/Hz)
Thermistors
ACCESSORIES
| A'vibration Mounts/Deflect. |  | (mm)
Belt Drive Guard
Inlet Screens
Inlet Guide Vanes (Motorised or Fixed)
Heat slinger
FAN HANDINGS
Arrangment/Class
Discharge Position
Motor Position
SOUND POWER LEVELS (SWL)
| 63Hz | (dB 10-12 Watts)
125Hz
250Hz
500Hz
1kHz
2kHz
4kHz
8kHz
REVISIONS/REMARKS
The fan air quantity allows for duct leakage
The sum of the outlet air quantities is (l/s)