FILTERS	MS. 20

| ITEM | PLANNED MAINTENANCE DESCRIPTION OF SERVICE | PERIOD | REMARKS |
| --- | --- | --- | --- |
| 1 | Inspect and report on extent of sludge build up on oil bath filters | EACH VISIT | The manufacturer's service instructions must be followed particularly for electrostatic and absolute filters |
| 2 | Dry media filters are to be replaced where the media is starting to disintegrate or where the filter frame has fractured |  |  |
| 3 | Check operation of filter, motor, gears, lubricate as necessary |  |  |
| 4 | Check filter operating controls |  |  |
| 5 | Clean filters and oil where applicable |  |  |
| 6 | Check media winding movement |  |  |
| 7 | Check pressure drop across filter where suitable instruments are fitted |  |  |
| 8 | Report on general condition of filter |  |  |